## TNA targets
Min Temp | Max Temp | Diurnal temp | Min RH | Max RH | Diurnal RH
13 | 20 | 2 | 35 | 60 | 10
Space %s
SR2
SR1
GF1
GF2
BAS

## Report
Location | SR 1
Dates covered | 2015-01-01 | 2015-01-01
TNA Targets
| Min temperature | 13
| Max temperature | 20
| Min RH | 35
| Max Rh | 60
| Temperature Diurnal | 2
| RH Diurnal | 10
Number of days covered by readings |  | 1
NUMBER of days readings outside TNA targets
Temperature |  | 0
RH |  | 0
Temperature diurnal change |  | 0
RH diurnal change |  | 0
PERCENTAGE of days readings outside TNA targets
Temperature |  | 0%
RH |  | 0%
Temperature diurnal change |  | 0%
RH diurnal change |  | 0%
Highest Temperature recorded |  | 18.1914
Lowest Temperature recorded |  | 18.1914
Highest Diurnal Temperature change recorded |  | 0
Highest RH recorded |  | 45.324
Lowest RH recorded |  | 45.324
Highest Diurnal RH change recorded |  | 0
Average Temperature |  | 18.1914
Average Diurnal Temperature change |  | 0
Average RH |  | 45.324
Average Diurnal RH change |  | 0
Percentage if time when mould growth could start |  | 0%
Percentage of time when mould growth could continue |  | 0%
Number of days temperature reached Dew point |  | 0
Percentage of days temperature reached Dew point |  | 0%
Preservation Index |  | 1.725%
(Percentage of damage being done per year to
poorest quality items stored in these conditions)
Preservation Index expected lifetime |  | 57.9834
(Expected lifetime, in years, of poorest quality
material being stored under these conditions)